Project Information

| Project Name: | Kenai River Water Quality Monitoring: Multi-Agency Baseline |
| --- | --- |
| Waterbody Name(s): | Kenai River |
| Assessment Unit ID(s): |  |
| KWF Project Manager: | Benjamin Meyer |
| DEC Project Manager: | Sarah Apsens |
| DEC QA Officer: | John Clark |

QA Data Review Checklist

| In-situ Field Data and Instruments | Yes, No, N/A | Comments |
| --- | --- | --- |
| Were all issues with instruments noted by field staff? |  |  |
| Were instrument logs (paper and electronic) complete and thorough? |  |  |
| Was rejected data adequately documented? |  |  |
| Does any additional field data need to be rejected and why? |  |  |
| Any additional comments or concerns. |  |  |
| Total % of field data reviewed |  |  |

| Analytical Laboratory Reports and Results - Metals | Yes, No, N/A | Comments |
| --- | --- | --- |
| Sensitivity: Were the appropriate analytical methods and reporting limits used? |  |  |
| Comparability: Are the same methods used throughout the season? |  |  |
| Representativeness: Do the range of result values make sense for the environmental conditions? |  |  |
| Accuracy: Does % recovery of Matrix Spikes meet both Lab and internal QA requirements? |  |  |
| Bias: Do spikes or standard reference materials have any anomalies? |  |  |
| Were flagged samples transferred correctly from lab report to the AWMQS export? |  |  |
| Were any there any unusual discrepancies such as dissolved metals higher than total metals? |  |  |
| Were any potential contamination issues noted? |  |  |
| Was rejected data adequately documented? |  |  |
| Does any additional lab data need to be rejected and why? |  |  |
| Did the PM document any missing laboratory data? |  |  |
| List all supporting information reviewed. |  | (laboratory report, field logs, instrument logs, COCs, etc) |
| Any additional comments or concerns. |  |  |
| Total % of lab reports reviewed |  |  |

| Analytical Laboratory Reports and Results - Bacteria | Yes, No, N/A | Comments |
| --- | --- | --- |
| Sensitivity: Were the appropriate analytical methods and reporting limits used? |  |  |
| Comparability: Are the same methods used throughout the season? |  |  |
| Representativeness: Do the range of result values make sense for the environmental conditions? |  |  |
| Were flagged samples transferred correctly from lab report? |  |  |
| Were any there any unusual discrepancies? |  |  |
| Were any potential contamination issues noted? |  |  |
| Was rejected data adequately documented? |  |  |
| Does any additional lab data need to be rejected and why? |  |  |
| Did the PM document any missing laboratory data? |  |  |
| List all supporting information reviewed. |  | (laboratory report, field logs, instrument logs, COCs, etc) |
| Any additional comments or concerns. |  |  |
| Total % of lab reports reviewed |  |  |

| Overall | Yes, No, N/A | Comments |
| --- | --- | --- |
| Was RDP within QAPP ranges? |  |  |
| Total % of data reviewed and did the overall project meet QAPP requirements |  |  |
| List all datasets that were rejected. |  |  |
| Any additional comments or concerns? |  |  |