January 16, 2023

Katherine Brown
USEPA Region 10
1200 Sixth Avenue
Seattle, WA 98101

Hello Katherine and Raymond,

Included in this email is a revised version of our Quality Assurance Project Plan (QAPP) that includes the recommended edits described in your memo from December 5, 2022. The details are described below this letter in a point-by-point format.

We are currently in the process of additional revisions to this QAPP document, which are largely in the nature of updating document formatting, as well as personnel contracts. We will provide this document to all parties concerned when available (EPA, Alaska Dept. of Environmental Conservation, tribal partners, and technical advisory group). It is not anticipated to contain revisions of major substance beyond what is provided in this attached draft today.

Please be in touch if we can address any additional feedback or answer questions. Thank you again for your support and cooperation as we enter our 23rd consecutive year of this community-driven monitoring project.

Sincerely,

Benjamin Meyer, Water Quality Coordinator
hydrology@kenaiwatershed.org
(907) 232-0280

CC: Moses Jordan, Kenaitze Indian Tribe
       Yvonne Weber, Salamatof Native Association

Addendum to memo to EPA R10 from Kenai Watershed Forum January 6, 2023

The following list describes edits requested on 12/5/2022 from Raymond Wu, Quality Assurance chemist with USEPA Region 10, to Kenai Watershed Forum to the “Kenai River Water Quality Multi-Agency Baseline QAPP.”

Updates Requested by EPA to QAPP in December 2022 (responses in italics)

- EPA Region 10 project manager and quality assurance manager signature lines missing

  - EPA R10 Project Manager name added, Katherine Brown; and signature lines added

- No action limits specified for the parameters of interest

  - We take the definition of “action limits” as the minimum and maximum values of a quality assurance measurement that can be interpreted as representing acceptable performance with respect to the parameter being tested. These values are outlined in tables 1-5.

  - Response: Section D3 (page 29) describes that if data quality objectives do not meet the program specifications outlined in tables 1-5, corresponding data from that sampling event will not be uplifted to the EPA Water Quality Exchange. Additional actions are described in section D3 including revisions and review.

- Explanation on how two sampling events can be representative of the entire year

  - Since inception in 2000, the temporal structure of this sampling program has not intended to represent water quality conditions of a full calendar year. Rather, the intention is to capture a snapshot of two annual conditions:

  - 1.) Prior to a period of higher potential for impact from human activities (boating activity, impervious surface runoff, etc.) in early summer; and

  - 2.) At the peak of human activity on/near the river in mid-summer

- Uncertain whether there will be 25 or 22 sampling sites

  - The total number of sites is 22. The previous version contained typos which instead listed the number as 25.

- SGS lab certificates will be required and included

  - Lab certificates for SGS (Anchorage, AK) and their subcontractor ALS (Kelso, WA) are available for download. The documents consist of ~30 pages total so are not included within the QAPP itself, but are referenced and available for anyone to download (Appendix L).

- Re-check & revise the following MDLs & PQLs in table 4 (Hardness, calcium, iron, magnesium)

  - We request additional detail on what this request entails. It not yet clear what specific revision or re-check is being recommended for these parameters. We appreciate any additional information or examples.

- Intended usage of qualifiers missing

  - We have added a table (Table 8) of qualifier descriptions used in this project, as provided by SGS North America.