January 20, 2023

Katherine Brown
USEPA Region 10
1200 Sixth Avenue
Seattle, WA 98101

Hello Katherine and Raymond,

Thank you for looking over the revisions to our Quality Assurance Project Plan. Included in this email is another revised version of our Quality Assurance Project Plan (QAPP) that includes the recommended edits described in your memo from December 5, 2022, and your email from January 18, 2023. The details are described below this letter in a point-by-point format.

As previously mentioned, we are in the process of additional revisions to this QAPP document. These revisions are largely in the nature of updating document formatting, as well as local personnel contacts. We will provide this document to all parties concerned when available (EPA, Alaska Dept. of Environmental Conservation, tribal partners, and technical advisory group). It is not anticipated to contain revisions of major substance beyond what is provided in this attached draft today.

Please be in touch if we can address any additional feedback or answer questions. Thank you again for your support and cooperation.

Sincerely,

Benjamin Meyer, Water Quality Coordinator
hydrology@kenaiwatershed.org
(907) 232-0280

CC: Moses Jordan, Kenaitze Indian Tribe
       Yvonne Weber, Salamatof Native Association

Addendum to memo to EPA R10 from Kenai Watershed Forum January 18, 2023

The following list describes edits requested on 1/18/2023 from Raymond Wu, Quality Assurance chemist with USEPA Region 10, to Kenai Watershed Forum to the “Kenai River Water Quality Multi-Agency Baseline QAPP.”

Updates Requested by EPA to QAPP in December 2022 (responses in italics)

- EPA Region 10 project manager and quality assurance manager signature lines missing

  - EPA R10 Quality Assurance Manager name added, Cindy Fields; and signature line added. Katherine Brown signature line removed.

- No action limits specified for the parameters of interest

  - We take the definition of “action limits” as the minimum and maximum values of a quality assurance measurement that can be interpreted as representing acceptable performance with respect to the parameter being tested. These values are outlined in tables 1-5.

  - Response: to clarify, section D3 (page 45) describes that if data quality objectives do not meet the program specifications outlined in tables 1-5, corresponding data from that sampling event will not be uplifted to the EPA Water Quality Exchange. Additional actions are described in section D3 including revisions and review.

  - With this definition of “action limits,” action limits are the values defined for the parameters of interest in tables 1-5.

  - For additional clarification, we have updated the detection limit terminology and acronyms as defined by SGS throughout the document (see included “Detection Limit Terminology” document from SGS. We can include this as an appendix if requested by EPA.

- Explanation on how two sampling events can be representative of the entire year

  - The following text has been added to the “Problem Definition / Background” section on page 11:

    - Since inception in 2000, the temporal structure of this sampling program has not intended to represent water quality conditions of a full calendar year. Rather, the intention is to capture a snapshot of two annual conditions:

      - Prior to a period of higher potential for impact from human activities (boating activity, impervious surface runoff, etc.) in early summer; and

      - At the peak of human activity on/near the river in mid-summer

- Re-check & revise the following MDLs & PQLs in table 4 (Hardness, calcium, iron, magnesium)

  - We received a copy of detection limit values from ALS Laboratories in Kelso, WA; the lab to which SGS Anchorage subcontracts analyses for the EPA 200.7 method.